## Slide 1
Your Health in a Breath
International Conference on Health, Healthcare and Eco-civilisation
Thomas Lundeberg
托马斯•兰德伯格
A novel technique for the assessment of volatile organic compounds in the environment and in human breath
评价环境和人类呼吸中挥发性有机化合物的一项新技术

## Slide 2: Trends in healthcare
Growing world population
Aging world population
Demand for increased health care
Increase of diseases like cancer, diabetes, obesity and COPD
Need for faster, better, cost-effective diagnostic methods
…beyond conventional laboratory medicine…
This is already happening

## Slide 3: Breath analysis
The Wall Street Journal October 9th , 2012
The concept goes back to Hippocrates, who wrote a treatise on breath aroma and disease around 400 B.C.
It's the ultimate noninvasive medical test: A growing number of health problems can be diagnosed by analyzing a patient's breath alone.
"Anything you can have a blood test for, there is potentially a breath test for, as long as there is a volatile - capable of readily changing from a solid or liquid form to a vapor – component.
VOC: Volatile Organic Compound

## Slide 4: DUVA
Deep Ultra Violet Analyzer
Spectrum in the deep ultra violet range [125-330] nm
Sequential analysis of different VOCs
”Non destructive” analysis of VOCs – compared to MS
Measurable quantity of original substance – down to pico gram
Proprietary technology

## Slide 5: Pre analytic phase
Sample collection
As little as half a liter of exhaled air sampled in a “plastic” bag is enough to detect chemical substances that originates from tissues.
This kind of sample collection is already used today for a number of standard laboratory tests, in example for detection of Helicobacter pylori (ulcer)

## Slide 6: Pre analytic phase
Sample extraction
SPME: Solid-phase microextraction
The needle is inserted into the plastic bag and VOCs are captured in the fiber.
Fast and simple procedure

## Slide 7: Pre analytic phase
Pre-processing
Gas chromatography: all substances are sequentially separated in gas phase in order of boiling point/vaporized pressure.
Helium or Nitrogen are used as gas carriers
The SPME is inserted in the chromatograph and gas is injected in the system

## Slide 8: Analysis
Absorbance spectrum
The absorbance spectrum is measured and
recorded in the DUVA control center
The data is post-processed and matched with
a database of VOCs
A database with the spectrum of over 1300 VOCs

## Slide 9: Detection
British Journal of Surgery, January 2013
“Exhaled volatile organic compounds identify patients with colorectal cancer”
Gas-chromatography mass-spectroscopy
15 compounds identified
37 patients
Overall accuracy of 76%

## Slide 10: Detection
Cancer Medicine, February 2014
“Exhaled volatile organic compounds identify patients with lung cancer”
Early detection is a key factor for increasing survival
4 compounds identified in 97 patients
late stages (II-IV) had higher levels
Overall accuracy of 83%

## Slide 11: Conceptual
Distributed test instruments
Central data base
Central control
Data compilation
Data Communication
One instrument type and One system for multiple health checks for future medical care

## Slide 12: Primary aim
Early detection of lung cancer
Early detection of colorectal cancer
Treatment assessment
Follow-ups
Early detection